# Main DDR - Detailed Diagnostic Report

# 1. Property Issue Summary

Moisture intrusion, ceiling leakage, bathroom wall dampness, minor kitchen cracks, and electrical panel overheating were identified.

# 2. Area-wise Observations

| Area | Observation | Severity | Reasoning |
| --- | --- | --- | --- |
| Living Room Ceiling | Water staining and thermal variation indicate possible retained moisture. | Medium | Moisture can spread and damage finishes if the source is not repaired. |
| Bathroom Shared Wall | Damp smell and moisture marks indicate possible hidden pipe leakage. | Medium | The exact moisture reading was not available, so further testing is required. |
| Electrical Panel | Thermal scan shows abnormal hotspot near breaker bank with 72 C maximum reading. | High | Electrical overheating may create safety and fire risk. |

# 3. Probable Root Cause

Possible plumbing leakage, weak waterproofing, retained moisture, and electrical load imbalance or loose connection.

# 4. Severity Assessment

Severity is assigned based on safety risk, spread risk, and evidence strength.

# 5. Recommended Actions

Arrange immediate electrical inspection by a licensed electrician.

Trace and repair leakage source before cosmetic repair.

Use moisture meter testing and plumbing pressure testing.

Monitor kitchen wall cracks and repair if movement increases.

# 6. Additional Notes

The workflow avoids unsupported assumptions and marks missing details clearly.

# 7. Missing or Unclear Information

Exact plumbing layout: Not Available

Age of electrical panel: Not Available

Kitchen wall image: Image Not Available