# Sample Inspection Report

Prepared for AI DDR Report Generation Assignment

Property Type: Residential apartment

Inspection Date: 20 May 2026

Inspector Notes: The inspection was completed visually. Some hidden plumbing areas could not be opened during inspection.

| Area | Observation | Risk Indication | Evidence |
| --- | --- | --- | --- |
| Living Room Ceiling | Water staining and damp patch observed near the ceiling corner. | Possible leakage or waterproofing failure. | Image attached below |
| Bathroom Shared Wall | Damp smell and moisture marks observed on the wall surface. | Possible hidden pipe leakage. | Image attached below |
| Kitchen Wall | Minor hairline cracks observed near the wall edge. | Likely settlement or plaster shrinkage. | No image captured |
| Electrical Panel | Panel cover felt warmer than surrounding wall. | Possible load imbalance or loose connection. | Thermal validation required |

# Supporting Photos

Living Room Ceiling - damp patch near ceiling corner

Bathroom Shared Wall - moisture staining